## Slide 1: Imaging for cultural heritage applications

## Slide 2: Motivation
Accurate documentation
High image resolution and penetration have always been the two most important parameters that conservators
Hi- fi reproduction of art paintings
Investigation the under paintings
Non-destructive Pigment identification
Virtual restoration of paintings
Study the effect of ambient light
Virtual Museum

## Slide 3: Failed restoration of art paintings
The three versions of the “ecce homo” fresco of Jesus.
The original version by Elías García Martínez, a 19th-century painter; a deteriorated version of the fresco; the restored version by Cecilia Giménez.
August 23, 2012
Virgin and Saint Anne
Overcleaning, 2014

## Slide 4: RGB and spectral image acquisition
RGB Camera
RGB image
K= 3
Hyperspectral Camera
Hyperspectral image
K > 10

## Slide 6: Hyperspectral Imaging
Notes: See cube. Digital imaging (spatial) + spectroscopy (spectral)
Click, show 2 examples. Obtain full spectrum instead of 1 or 3 values as in digital imaging.

## Slide 7: Art scan setup
Y-scanning stage
HySpex
Instrument
Lamps
Reflectance
reference
Mounting frame
for painting
X-scanning stage
Main system components:
XY linear skanner: 100cm horizontal, 150cm vertical
HySpex VNIR and/or SWIR camera
Close-up lenses and polarizers
Light source
Data Acquisition Computer
Software:
  HySpex for data acquisition
  HySpex for calibration
  ENVI for analysis (third party)
Optional: Dedicated processing computer and servers for archiving
Full syncronization between camera speed and scanning movement.

## Slide 8: Spectral acqusition

## Slide 9
Camera Configurasjons

## Slide 10: Hyperspectral imaging of ‘The Scream’

## Slide 11
December 2015
Spectral Scream:Hyperspectral image acquisition and analysis of a masterpiece.

## Slide 12: Wordings in ‘The Scream’
Jon Yngve Hardeberg, Sony George, Ferdinand Deger, Ivar Baarstad, Julio Ernesto Hernandez Palacios, Spectral Scream:Hyperspectral image acquisition and analysis of a masterpiece. To appear in “Public paintings by Edvard Munch and some of his contemporaries. Changes and conservation challenges,” Tine Frøysaker, Noëlle Streeton, Hatmut Kutzke, Biljana Topalova‐Casadiego and Françoise Hanssen‐Bauer, eds., Archetype Publications, London, 2014

## Slide 13
Lead white, vermilion
Cadmium yellow
Pigment mapping
*Pigment Mapping of The Scream (1893) Based on Hyperspectral Imaging , Hilda Deborah, Sony George, Jon Yngve Hardeberg,. Accepted ICISP 2014
Notes: Vermilion: red pigment
Cadmium yellow: yellow pigment

## Slide 14: Pigment locations for invasive studies
*'Investigation of Materials Used by Edvard Munch';Brian Singer, Trond Aslaksby, Biljana Topalova-Casadiego and Eva Storevik Tveit;Studies in conservation 55 (2010)

## Slide 15: Crack detection

## Slide 16: Crack detection

## Slide 17: Utsikt fra Fossveien (1881)
Minner (1891)
Treschows bro (1898)

## Slide 18: How it looks like if we use these lights?
Calculated_Data_4_LED_with_yellow_LED
GE_F40WAD_FL__6500K__9200_CRI
GE_Standard_Tungsten_TH

## Slide 19: How it looks like if we use these lights?
Leelium Daylight_MSR_HMI
Philips Par38_LED
2660K 8400_CRI
ProLite Daylight_SRI30W
Par_30_CFL

## Slide 20: Application of spectral imaging for the analysis of ancient manuscripts
Notes: My name is Sony George.
Today I would be talking about the Application of spectral imaging for ink separation in ancient manuscripts.
Most of the ancient manuscripts are handwritten and undergoing several kind of changes over time.

## Slide 21: Spectral aquisition at National Library
Notes: HySpex VNIR 1600

## Slide 22: Ink Separation
“Brev fra Munch, Nathalia (1812-1900) til Munch, Peter Andreas (1810-1863)”, dated 27.9.1833

## Slide 23: Visualisation at different illuminants
Notes: We tried to see how the manuscript looks like in different illuminants
Sometimes the ambient light makes things further bad.
Right side, both inks looks like almost the same

## Slide 24: Band selection ?
512 nm
730 nm

## Slide 25: SID

## Slide 26: Khirbet Qeiyafa
Khirbet Qeiyafa (Elah Fortress) is the site of an ancient city overlooking the Elah Valle - (32 km) from Jerusalem
Covers nearly 6 acres
Encircled by a 700 meter long city wall constructed of stones weighing up to eight tons
Estimated historical period: 10th-century BCE

## Slide 27: Improve readability of Ostracon
Dimension: 15 x 16 cm
The text :
  Written in ink
  Poorly preserved and difficult to read
  5 lines of text separated by draw underlines
  The longest Proto-Canaanite Inscription ever found
  The earliest Hebrew inscription known to date
*Spectral Image Analysis and Visualisation of the Khirbet Qeiyafa Ostracon, Sony George, Ana Maria Grecicosei, Erik Waaler, and Jon Yngve Hardeberg, -ICISP 2014

## Slide 28: Missing characters?

## Slide 29: Mathematical image processing and visualization

## Slide 30: National museum of history: Bucharest

## Slide 31: Colour and Space in Cultural Heritage (COSCH)
European Union COST-Action TD 1201:
  Precise and complete documentation of artefacts for conservation and preservation of our cultural heritage (CH).
  Access to the best possible documentation of artefacts this Action is contributing to the enhanced understanding of material CH and helps its long-term preservation.
http://www.cosch.info
2012-2016

## Slide 32: COSCH - RRT test elements
1: Rare Earth Elements panel (Spectralon)
2: X-Rite ColorChecker® CLASSIC
3: X-Rite White Balance
4: Painted test panel – medieval Tuscan technique on wood
  SBSAE Restoration Labs, Florence
5: Antique Russian Icon "Virgin of Kazan" (1899) print on copper plate
Notes: Every target gives different information regarding quality: (Motivation for the selection is in next slide)

## Slide 33
University of Eastern Finland, Joensuu, Finland
UCL London, UK
Gjøvik University College, Norway
IFAC-CNR, Florence, Italy
Imaging & Media Lab, Universität Basel, Switzerland
University of Leipzig, Germany
University of Minho, Braga, Portugal
CD6-UPC, Terrassa, Spain
Museum in Krakow, Poland
Institute of Theoretical and Applied Mechanics of the Academy of Sciences, Czech Republic
Centre de Recherche et de Restauration des Musées de France, Musée du Louvre, Paris, France
CRCC, Paris
University of Milan - Bicocca, Italy
Norsk Elektro Optikk AS, Norway
University of Burgundy, France
STARC, The Cyprus Institute, Cyprus
Academy of Fine Arts, Vienna, Austria
Czech Technical University in Prague, Czech Republic
Smithsonian Institution, Washington DC